## Physics Equipment
Purchase Item: Teaching for Advanced Physics and Applied Chemistry 高等物理及應用化學教學
No. | Item Name | 項目名稱 | Number of set | Total Quantity | Manufacturer and Model | Supplier | Location | Asset Number
Item 1: Teaching Equipment for Advanced Physics 第一項:高等物理教學儀器
1.1 | Fiber Optics | 光纖光學實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.2 | Fundamental principles of Nuclear Magnetic resonance (NMR) | 核磁共振(NMR)基本原理實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.3 | Electron diffraction | 電子衍射實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.4 | Stefan-Boltzmann's law of radiation with an amplifier | 使用放大器的輻射定律實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.5 | Polarisation through quarter wave plates | 透過四分一波片的偏振實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.6 | Electron Spin Resonance(ESR), resonaancia espin electronico | 電子自旋共振(ESR)實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.7 | Franck -Hertz experiment with a Ne-tube | 氖管中的弗蘭克-赫茲實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.8 | Boiling point diagram of a binary mixture | 二元混合物的沸點相圖實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.9 | Phase velocity of rope waves | 繩子波的相速度實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.1 | Magnetic moment in the magnetic field | 磁場中的磁矩實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.11 | Coulomb's law/image charge | 庫倫定律/鏡像電荷實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.12 | Determination of Faraday's constant | 法拉第常數的確定實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.13 | Elementary charge and Millikan experiment | 基本電荷和密里根實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.14 | Ferromagnetic hysteresis with Cobra4 | Cobra4鐵磁磁體的磁滯迴線實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.15 | Index of refraction, dispersion, and resolving power of a prism spectroscope | 棱鏡光譜儀的折射率，色散和分辨能力實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.16 | Plank's "quantum of action" and extern photoelectric effect (line separation by a diffraction grating) | 普朗克"量子效應"和外部光電效應實驗(衍射光柵的線分離) | 3 | 3 | PHYWE | SF科學 | E11-3100
1.17 | Characteristic curves of a solar cell | 太陽能電池的特徵曲線 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.18 | Hall effect in n- and p-germanium (Tesiameter) | n型和p型鍺的霍爾效應實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.19 | Air track, complete (Warranty :1 year) | 空氣軌道實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.2 | Diffraction at a slit and Heisenberg's uncertainty principle | 光縫衍射和海森堡不確定原理實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.21 | Atomic Spectra of two-electron system: He, Hg | 雙電子系統(氦，汞)的原子光譜實驗 | 3 | 3 | PHYWE | SF科學 | E11-3100
1.22 | Michelson interferometer | 邁克遜干涉儀 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.23 | Vibration of strings | 繩震動實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.24 | Maxwellian velocity distribution | 麥克斯韋速度分佈實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.25 | Thermal expansion in solids and liquids | 固體和液體的熱膨脹實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.26 | Electric fields and potentials in the plate capacitor | 平板電容器中的電場和電勢實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.27 | Laws of lenses and optical instruments | 透鏡和光學器件定律實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010
1.28 | Diffraction of light at a slit and an edge | 單縫和邊緣的光衍射實驗 | 3 | 3 | PHYWE | SF科學 | E11-2010

## Chemistry Equipment
Item 2: Teaching equipment for Applied Chemistry, 第二項：應用化學教學儀器(一）
No. | Item Name | 項目名稱 | Number of set | Total Quantity | Manufacturer and Model | Supplier | Location | Asset Number
2.1 | UV-vis spectrophotometer | 紫外-可見光分光光度計 | 3 | 6 | Perkin-Elmer UV/VIS Spectrophotometer Lamda 365 | Pok-Fo | E11-3091
2.2 | Cuvette system for UV-vis spectrophotometer | 石英吸收池 | 3 | 24 | Perkin-Elmer cuvette | Pok-Fo | E11-3091
Item 3 Teaching Equipment for Applied Chemistry 2 第三項：應用化學教學儀器（二）
No. | Item Name | 項目名稱 | Number of set | Total Quantity | Manufacturer and Model | Supplier | Location | Asset Number
3.1 | Vacuum system (water base) | 化學實驗用循環水真空抽濾系統 | 3 | 15 | 予華SHZ-D(III)防腐雙表雙抽囘圈水真空泵， 180W, 0.098MPa,10L/min | Pok-Fo | E11-2010
3.2 | Analytical balance | 分析天平 | 3 | 12 | Mettler Toledo Analytical Balance, Cat No. ME104E | Pok-Fo | E11-3092
3.3 | Electrochemical station | 電化學工作系統 | 3 | 6 | 上海辰華CHI630E電化學工作站 | Pok-Fo | 3 sets in E11-3092, 3sets in E11-2010
3.4 | Water bath | 恆溫循環器 | 3 | 12 | 優萊博VIVO Itherm-B1經濟型加熱浴槽/ 恆溫循環器 | Pok-Fo | E11-2010
3.5 | Hot plate with magnetic stirrer | 恆溫磁力攪拌器 | 3 | 21 | 上海司樂85-2恆溫磁力攪拌器 | Pok-Fo | E11-2010
3.6 | Oven | 鼓風乾燥箱 | 3 | 9 | 上海一恆臺式電熱恆溫鼓風乾燥箱 型號：DHG-9013A | Pok-Fo | E11-2010
3.7 | Hydrogen energy box (education kit) | 氫能教學實驗套件 | 3 | 9 | HORIZON EDUCATIONAL, HORIZON ENERGY BOX; CAT NO. FCJJ-40 | Pok-Fo | 1 set in Prof. Shao's lab, 8 sets in E11-2010
3.8 | pH meter | pH 計 | 3 | 15 | 雷磁PH測試儀，型號PHS-3C | Pok-Fo | E11-2010
3.9 | Optical microscopes | 光學顯微鏡 | 3 | 6 | 天策策光光學顯微鏡，型號XSP-02-640X 放大倍數：40-6000倍 | Pok-Fo | E11-2010
3.1 | Ceramic Digital Stirring Hot plate | 數字式陶瓷加熱磁力攪拌器 | 3 | 15 | Cole-Parmer數字式陶瓷加熱磁力攪拌器 Cat No. IN-15956-31 | Pok-Fo | E11-2010
3.11 | Vacuum pump | 旋片式真空泵 | 3 | 15 | 上海萬經2XZ型旋片式真空泵， 型號2XZ-4 | Pok-Fo | E11-2010
3.12 | Thermal static bath | 智能數顯磁力攪拌加熱鍋 | 3 | 15 | 予華ZNCL-G智能磁力加熱鍋 | Pok-Fo | E11-2010
3.13 | UV lamps(30W) | 紫外燈(30W) | 3 | 15 | 其林貝爾ZF-2四用型紫外分析儀 紫外波長： 254,312,365nm | Pok-Fo | E11-2010
3.14 | Mechanical stirrer | 機械攪拌機 | 3 | 15 | 友聯儀器，JJ-1B-恆速强力電動攪拌器 | Pok-Fo | E11-2010
3.15 | Sonicator bath | 超聲波清洗槽 | 3 | 9 | 科盟KM-1030C型超聲清洗機 | Pok-Fo | 1 set in E11-2011, 8 sets in E11-2010
3.16 | Polarized light microscopy | 偏光顯微鏡 | 3 | 9 | Boshida BD-200 Metallurgical Microscopy with 3MP digital camera | Pok-Fo | 5 sets in E11-3092, 1 set in E11-3100, 3 sets in E11-2010
3.17 | Contact angle apparatus | 接觸角測定儀 | 3 | 3 | Sindatek接觸角測試儀， Model: 100SB. | Pok-Fo | E11-3092
3.18 | Rotorary evaporator | 旋轉式蒸發儀 | 3 | 3 | 上海豫康旋轉式蒸發儀，型號RV-211M | Pok-Fo | E11-2010
3.19 | Electromantle heater | 電熱套加熱器 | 3 | 6 | 予華ZNCL-TS-500ML 智能數顯磁力電熱套 | Pok-Fo | E11-2010
3.2 | Centrifugator | 離心機 | 3 | 3 | 湘儀臺式離心機，型號L600， 6000rpm, 最大容量12x15ml | Pok-Fo | E11-2010
3.21 | Infrared spectrophotometer | 紅外分光光度計 | 3 | 3 | PerkinElmer Spectrum Two, 8300-3500cm-1, resolution 0.5cm-1 | Pok-Fo | E11-3091
3.22 | Vacuum pump - water cycling type | 真空泵-水循環型 | 3 | 3 | 上海豫康迴圈水式真空泵，型號SHB-IIIA | Pok-Fo | E11-2010
3.23 | Ice maker | 製冰機 | 3 | 3 | 惠康小型製冰機，型號HZB-20FA | Pok-Fo | E11-2010
3.24 | Electrochemical meter | 電化學測量計 | 3 | 9 | 上海三信MP551 pH/mV/離子濃度/電導率/ 溶解氧測量儀 | Pok-Fo | E11-2010